Local Government (Water Pollution) Acts, 1977 & 1990

For Licence Review

APPLICATION FOR A LICENCE TO DISCHARGE TRADE AND/ OR DOMESTIC WASTE WATER TO SURFACE WATER

Your completed application accompanied by all relevant information is to be sent to the following address:

Monaghan County Council

Environment Section

Riverside Road

Carrickmacross

Co. Monaghan

A81 RY22

Telephone:  042 9661240

Email Queries to: environment@monaghancoco.ie

Web: www.monaghan.ie

PART I - Section 1

- Guidance on Applying for a Review of Licence

For the purpose of ensuring that all information held with regard to the licence is correct and up to date the licensing authority will require the licensee to submit a completed application form for the purpose of the licence review. However, in addition to completion of an application form an Article 13 Notice will also be issued to the licensee, as required under Regulation S.I. 108 of 1978. This notice will identify site specific information needs and issues to be addressed by the licensee. Requirements for maps, effluent characteristics, effluent treatment details and impact on receiving waters will vary depending on the scale of enterprise, the quality of documentation available on existing licence file and whether current file documents are up to date. It is recommended that the licensee and Agent consult with the Environment Section in relation to these matters in advance of completion of application form. Over time and particularly in relation to trade effluents significant changes may have occurred since the original licence application or last licence review. Such changes may relate to • processes giving rise to the effluent raw effluent characteristics and loads • wastewater treatment plant performance • Water usage • Site drainage systems • Site development works It is important that up to date documentation is available for the licence review and public consultation process

- Completing the Application Form

The Applicant is asked to contact the Licensing Authority in the event that: - they are having difficulty in providing all the information required in the application form - they are unsure of what information they are to provide in the form - they are unsure of where to source the information required in the form - they require any information or guidance on filling out the form

Who Should Fill in This Form? This form is comprised of four separate parts as follows: - Part I – Declaration & Signatures This part is to be completed by all applicants for a review of licence to discharge to waters - Part II – General Details This part is to be completed by all applicants for a review of licence to discharge to waters. - Part III – Effluent Details This part is to be completed by all applicants for a review of licence to discharge to waters - Part IV – Discharges to Surface Water This part is to be completed by all applicants who propose to discharge trade effluent or domestic waste water (or both) to surface water. For clarification on what constitutes a trade effluent or a domestic waste water refer to the “Guidance on Applying for a Discharge Licence”. Clarification on what is defined as a surface water is also provided.

Additional Sheets Where any part of the Application Form does not afford sufficient space to provide the required information then the Applicant should attach additional sheets to the form containing such information. The additional sheets should cross-reference between the Application Form and the sheets. Mark each sheet with the name of the Applicant and the name of the premises from which the discharge is generated and indicate the section and part of the Application Form to which the additional sheets relate.

Request for Further Information The Licensing Authority is entitled under Section 7(3) of the Local Government (Water Pollution) Regulations, 1978 to request the Applicant to submit additional information that the Licensing Authority deems to be necessary for the consideration of an application for a discharge licence. Where this information is not provided by the Applicant within a three month period of receiving such a request then the Licensing Authority may carry out the necessary investigations to acquire the information, the cost of which is to be borne by the Applicant. Alternatively the Licensing Authority may proceed to make a determination on the application in the absence of such information.

- Signatures of the Applicant & Agent

Identify the class of discharge to which this application pertains. I hereby make an application for a licence to discharge ______________* effluent to Waters / Sewer (delete as appropriate) under the Local Government (Water Pollution) Act 1977 in respect of the particulars included in this application on behalf of _____________ (insert name of the Applicant).

Where this application is made by an Agent on behalf of an Applicant, the signature of the Applicant must be provided below confirming the authorisation of the Agent to apply for a licence on their behalf: I hereby authorise _____________ (name of Agent) to apply for a discharge licence on behalf of ________________ (name of Applicant). Signed: Date: (provide signature of Applicant)

I hereby declare that I am fully aware of my responsibilities to implement the conditions of any licence granted on the basis of this application and acknowledge that I may be subject to criminal liability whereby the terms of the licence are not complied with. Signed: Date: (provide signature of Applicant)

Refer to the “Guidance on Applying for a Discharge Licence” for definitions of the Applicant and the Agent.

PART I - Section 2

- Disclosure of Information

The Freedom of Information Act, 1997 (as amended) states that every person has a right to access to any record held by a public body. This includes discharge licenses (and associated applications) held by the Local Authority. The Local Authority may refuse to provide access to records held by them where the information was provided to the Local Authority in confidence with the understanding that it is to be treated as confidential. Circumstances under which confidentiality may apply include where information submitted in the application contains commercially sensitive information or matters of National security. The Applicant is requested to identify all information submitted with the application which is to be treated as confidential and is requested to identify the grounds on which the information may be categorised as confidential.

- False or Misleading Information

It is an offence under the Local Government (Water Pollution) Act, 1977 to knowingly submit false or misleading information in the licence application and an Applicant is liable to a fine on summary conviction of such an offence.

Please provide signature of the authorised representatives of the Applicant and where appropriate the Agent confirming that all the information submitted in this application is correct and that they have made themselves aware of the provisions of the Freedom of Information Act. I/we hereby declare that I/we have made myself/ourselves aware of the provisions of the Freedom of Information Act and that I/we understand that there is a legal obligation on the Local Authority to make this discharge licence application available for inspection by third parties. I/We hereby declare that to the best of my/our knowledge all of the information provided in this application is true and correct. Signed: Date: (provide signature of the Applicant) Signed: Date: (provide signature of the Agent)

PART II – Section 1

| - Contact Details – Applicant |  |
| --- | --- |
| A. (i) Provide contact details for the Applicant below |  |
| The Applicant is: | An Individual A Group of Individuals A Corporate Body |
| Name (Principal Contact)* |  |
| Address |  |
| Phone Number (day) |  |
| Phone Number (night) |  |
| Fax |  |
| e-mail |  |
| * Where the Applicant is a group of individuals or a corporate body, provide the name of one individual to be the principal contact for the purpose of correspondence relating a licence granted by the licensing authority. |  |

| A. (ii)Where the Applicant is an Individual provide the following details: |  |
| --- | --- |
| Relationship to the premises from which it is proposed to discharge | Owner/occupier Landowner Responsible for treatment facility Other ____________________________(please specify) |

| A. (iii) Where the Applicant is a Group of Individuals provide the following details: |  |
| --- | --- |
| Type of Group | Management Company Residents Association Voluntary Group Club Other ____________________________(please specify) |

| A. (iv) Where the Applicant is a Corporate Body provide the following details: |  |
| --- | --- |
| Type of Corporate Body | Limited Company Public Limited Company Sole Trader Co-operative Partnership Other ____________________________(please specify) |
| Certificate of Incorporation must be included with the application listing the names of Directors. |  |

| - Contact Details – Agent |  |
| --- | --- |
| B. Where an Agent is making this application on behalf of an Applicant the Agent’s contact details must be provided |  |
| Name |  |
| Address |  |
| Phone Number (day) |  |
| Phone Number (night) |  |
| Fax |  |
| e-mail |  |
| Relationship to the Applicant e.g. employee, consultant, partner. |  |

PART II – Section 2

| - Site Details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. (i) Provide current details below of the site / activity from which the discharge takes place. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name of Site (where applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site location (Co-ordinates) | Easting |  |  |  |  |  |  | Northing |  |  |  |  |  |  |  |
| Is planning permission granted for any proposed / existing development at the site? | Granted Reference Number ____________________ Pending Not Applied For |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have copies of the following maps / drawings been included? | Site Location Map Site Layout Map Site Drainage System Drawings * None of the above * As constructed and current site drainage details of foul, trade (if relevant) & storm water drains and outfalls Consult with LA regarding mapping that requires updating. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outfall Details | Provide details of the outfall design, size and construction. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Provide copies of the outfall drawings. Consult with Local Authority regarding mapping requests / updating of maps |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| A. (ii) Identify the sector from which the discharge is generated. |  |  |  |
| --- | --- | --- | --- |
| Type of Premises | Please tick the box as appropriate |  | √ |
|  | Accommodation | Household / Holiday Home |  |
|  |  | Hotel / Guesthouse / B&B |  |
|  |  | Caravan Park / Camp Site |  |
|  |  | Nursing Home |  |
|  | Education | Non-residential facility |  |
|  |  | Boarding School |  |
|  |  | College / University |  |
|  | Commercial / Service | Office |  |
|  |  | Hairdresser / Beauty Salon |  |
|  |  | Doctor Surgery |  |
|  |  | Dentist |  |
|  |  | Launderettes and Dry Cleaners |  |
|  |  | Petrol Station |  |
|  |  | Hospital |  |
|  |  | Churches, Monasteries etc. |  |
|  |  | Amenities (golf course, sport facilities etc.) |  |
|  | Food & Drink | Public House (with or without food preparation) |  |
|  |  | Restaurant / Café / Take Away |  |
|  | Transport | Airport |  |
|  |  | Train station |  |
|  |  | Bus station |  |
|  | Industrial | Dry process industry without canteen |  |
|  |  | Dry process industry with canteen where food is prepared |  |
|  |  | Chemicals industry |  |
|  |  | Wood, paper, textiles and leather |  |
|  |  | Food and drink |  |
|  |  | Minerals and other materials |  |
|  |  | Energy |  |
|  |  | Metals |  |
|  |  | Mineral fibres and glass |  |
|  |  | Fossil fuels |  |
|  |  | Cement manufacture |  |
|  |  | Waste |  |
|  |  | Surface coatings |  |
|  | Other (Please specify) | e.g. tourism- heritage centre |  |

| A. (iii) Activities Carried Out on Site. |  |
| --- | --- |
| Provide details of the activities carried out on site. Where this involves a process, provide an overview of the process. In particular indicate where domestic waste water / trade effluent is generated. |  |
| Provide additional sheets where necessary. |  |
| Specify any development, expansion or process changes since the original application or since the most recent licence review |  |
| Process Materials & Waste Disposal | Where applicable, complete Appendix A and Appendix B of this form. |

PART III – Section 1

| - Effluent Details |  |
| --- | --- |
| PART III – Section 1 A is to be completed for all licence reviews |  |
| Type of effluent | Domestic Waste water Only Trade Effluent Only Both Domestic and Trade Effluent |
| Domestic Waste water only (if relevant) | Population Equivalent (p.e.) _______________ |
|  | Expected Dry Weather Flow (DWF) ________________m3/day. Provide details of how the P.E. & DWF were calculated. |
| Trade Effluent only or Domestic & Trade (if relevant) | Normal volume of effluent discharged per day is ___________ m3/day. |
|  | Maximum volume of effluent discharged in one day is ________m3/day. |
|  | Maximum volume of effluent discharged per hour is _______ m3/hour. |
| Provide details of how the trade effluent flows are calculated. |  |
| Effluent Characteristics. | Complete Appendix C and Appendix D of this form. Consult with Local Authority as to specific requirements for Licence Review Provide additional sheets where necessary. |

| - Effluent Details |  |
| --- | --- |
| PART III – Section 1 B is to be completed for all licence reviews Provide additional sheets where necessary. |  |
| Discharge Variability | Briefly identify whether there is likely to be variability in the discharge flow or characteristics e.g. due to process changes, due to seasonal variation, due to diurnal changes etc. Where the discharge shows seasonal or other variation, please provide details of flow volumes and times of discharge. Also provide details of varying effluent characteristics in Appendix C and Appendix D. |
| Fats, Oils and Grease (FOG) (if relevant) | Provide details of control measures proposed for the removal of FOG from the effluent prior to discharge. Provide technical data sheets for any equipment proposed. Describe equipment maintenance |
| Food Waste (if relevant) | Provide details of provisions for source segregation and disposal of food waste. |
| Other Discharges | Provide particulars of any other discharges from the premises (e.g. storm water). Describe maintenance of silt traps, drainage channels and oil interceptors where relevant |
| Water Supply | Provide details of the source of water that will form part of the discharge e.g. mains, borehole, river etc. |
|  | The estimated volume of water used per day is _____________m3/day |
| Other Effluent Details | You may be required to furnish such other particulars as the Licensing Authority may reasonably require for consideration of the application e.g. effluent toxicity testing, bioaccumulation testing, biodegradation testing. |

PART III – Section 2

| - Effluent Treatment |  |  |
| --- | --- | --- |
| PART III – Section 2 A is to be completed where the effluent is to be treated prior to discharge. |  |  |
| Operator of Treatment System | Where the treatment system is to be maintained and operated by a third party please provide the following: |  |
|  | Contact Name |  |
|  | Company Name |  |
|  | Address |  |
|  | Phone Number (day) |  |
|  | Phone Number (night) |  |
|  | Fax |  |
|  | e-mail |  |
|  | Registered Company Details |  |
| Waste Water Treatment System Overview | Provide particulars of the existing / proposed upgrade of effluent treatment system. Where waste water treatment utilises a percolation area, filter system, constructed wetland or land application provide details of the design and construction of same, site suitability / characterisation testing and include such drawings as my be relevant. Provide additional sheets where necessary. |  |
| In the event of any upgrade or intrusive investigation of soil polishing facilities, the Environment Section of Monaghan County Council shall be notified of date of proposed site suitability investigations and contact details of person carrying out site suitability test 48 hours in advance of proposed test. Contact the Environment Section on (047) 30592 / 30593 or email environment@monaghancoco.ie Provide copies of the treatment system process drawings. |  |  |

| - Effluent Treatment |  |
| --- | --- |
| PART III – Section 2 B is to be completed where the effluent is treated prior to discharge. Provide additional sheets where necessary. |  |
| Treatment System Maintenance | Provide details of the proposals for the treatment system maintenance. |
| Access to treatment systems and discharge point for Local Authority Staff | In the event that the waste water treatment system is enclosed and locked and / or the discharge point is inaccessible during the normal working day provide details of key holder. Name: Address: Phone number: Mobile number: |
| Plant Failure | Identify how any failure of the treatment system will be detected. |
| Sludge | Provide details of proposals for dealing with sludge (where relevant). |

PART III – Section 3

| - Effluent Monitoring for Licence Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PART III – Section 3 A is to be completed. Provide details of the monitoring proposed for the effluent discharge Provide additional sheets where necessary. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monitoring the Discharge. | Identify proposed effluent monitoring point(s) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of sampling point(s) (Co-ordinates) | Easting |  |  |  |  |  |  | Northing |  |  |  |  |  |  |
| Effluent Flow Monitoring | Provide details of any proposals to monitor the discharge flow. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Licensing Authority Monitoring | Provide a description of how the Licensing Authority will be provided access to the effluent in order to take samples and indicate the point at which such samples may be taken e.g. last manhole before outfall. (Provide grid reference below). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of Licensing Authority sampling point(s) (Co-ordinates) | Easting |  |  |  |  |  |  | Northing |  |  |  |  |  |  |

| - Pollution Control |  |  |
| --- | --- | --- |
| PART III – Section 3 B is to be completed for licence review. Provide details of any pollution control measures proposed. Provide additional sheets where necessary. |  |  |
| Accidental Discharges | Provide details of arrangements to prevent accidental discharges. |  |
| Provide below, details of emergency procedures, contact persons and facilities available to respond to unexpected incidents. |  |  |
| Emergency Response | Contact Name |  |
|  | Phone Number (day) |  |
|  | Phone Number (night) |  |
|  | Provide details of any emergency procedure. |  |
| Environmental Management Plan | Is there an Environmental Management Plan in place in respect of the site? Yes No If ‘Yes’ please submit a copy with this application. |  |

PART IV – Section 1

| - (i) Receiving Water Details - Discharge to Inland Surface Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PART IV – Section 1 Consult in advance with LA for information sources etc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name of Receiving Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of Discharge (Co-ordinates) | Easting |  |  |  |  |  |  | Northing |  |  |  |  |  |  |
| Add additional rows where necessary. All discharge locations to be indicated clearly on OS Map. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Existing Uses | The receiving water is a tributary of ___________ (insert waterbody name). |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Water uses are_________________ (e.g. angling, recreational, navigation etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Designation* | The receiving water is located within the boundary of : (tick as appropriate) An SAC, site code _____________. An SPA, site code _____________. None of the Above * Note: Where the discharge is located within the boundary of a Natura 2000 site (SAC or SPA), an Appropriate Assessment must be submitted with this application as required by Council Directive 92/43/EEC on the Conservation of Natural Habitats and of Wild Fauna and Flora (Habitats Directive). |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | The receiving water is designated as: (tick as appropriate) A Salmonid Water An Inland Bathing Water A Pearl Mussel Water A Drinking Water A Sensitive Water None of the Above |  |  |  |  |  |  |  |  |  |  |  |  |  |

| - (i) Receiving Water Details - Discharge to Inland Surface Water (continued) |  |
| --- | --- |
| Name of River Basin District | Provide the name of the River Basin District in which the discharge is located ________________________. |
| Water Framework Directive Waterbody Status | No Status Moderate Bad Good Poor High |
| Receiving Water Flow Data. | Where available include information from existing hydrometric station / flow estimation tool. __________ m3 /sec Dry Weather Flow (DWF). __________ m3 /sec Mean flow. __________ m3 /sec 95%ile flow. Source of Information: EPA OPW Hydrometric Station Reference Number:__________________ |
|  | Include information from on-site flow measurement where it has been undertaken. Flow: __________ m3/sec Date:_______________ Flow: __________ m3/sec Date:_______________ Flow: __________ m3/sec Date:_______________ Provide information on rainfall for a minimum of six days preceding each flow measurement. |

| A. (ii) Receiving Water Details - Discharge to Inland Surface Water |  |  |
| --- | --- | --- |
| Receiving water background chemical data. | Parameter | Result (mean) |
|  | BOD5 mgO2/l |  |
|  | Suspended Solids mg/l |  |
|  | pH (pH units) |  |
|  | Dissolved Oxygen mg/l O2 |  |
|  | Temperature ºC |  |
|  | Total Ammonia as mg/l N |  |
|  | Un-ionised Ammonia as mg/l N |  |
|  | Orthophosphate as mg/l P (unfiltered MRP) |  |
|  | Total Phosphorus as mg/l P |  |
|  | Nitrite as mg/l N |  |
|  | Nitrate as mg/l N |  |
|  | Total Nitrogen mg/l N |  |
|  | Chloride mg/l |  |
|  | Sulphate mg/l |  |
| Consult with LA on information needs |  |  |

PART IV – Section 2

| - Impact of Discharge - Discharge to Inland Surface Waters |  |
| --- | --- |
| PART IV – Section 3 A Consult with LA |  |
| Have any of the following assessments been carried out in terms of your proposed discharge / receiving waters? | Toxicity Testing Bioaccumulation Testing Biodegradation Testing Aquatic / Fisheries Study Modeling of Mixing Zone Other ______________________(please specify) If ‘Yes’ please submit a copy of the report with this application. |

PART IV – Section 4

| Checklist for Applicant when applying for a licence to discharge to Water |  |
| --- | --- |
| Details to be Submitted | Tick Box where included |
| - Fully completed, signed and dated application form (One original plus one hard copy) |  |
| - Name & address of Applicant & Agent |  |
| - Has location of discharge been identified on a location map? |  |
| - In the case of an application submitted by a company, has a certificate of incorporation been included? |  |
| - Are up to date maps available? |  |
| - Site location map at scale of 1:50,000 |  |
| - Site layout map at scale 1:2500 |  |
| - Drainage map drawings at scale no greater than 1:2500 |  |
| - Description of the process giving rise to trade effluent |  |
| - Description of the method of effluent treatment and proposed upgrade or investigation. Include details of any land application, percolation areas, filter systems or constructed wetland. Include measures for the control of FOG where appropriate. Include current effluent flow diagram. |  |
| - Treatment system operation & maintenance details |  |
| - Effluent quality discharge load details and concentrations, discharge volume and flow details. (current volumes) |  |
| - Receiving water details |  |
| - Assessment of the impact of the discharge on the receiving water |  |
| - Article 13 notice requirements |  |
| - Details of sensitivity of water |  |
| - Proposals for dealing with sludge (where relevant) |  |
| - Emergency procedures in case of plant breakdown or pollution incident (including details of storage facilities onsite) |  |

Please include any additional information which you deem to be pertinent to the application / discharge.

| Appendix A - Provide details of process related raw materials, products etc. used or generated on site. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Substance | EC Number | Nature of Use | Amount Stored (tonnes) | Annual Usage (tonnes) | Danger Classification | Risk Phrase | Safety Phrase |
| Include copies of Material Safety Data Sheets (MSDS) for materials. |  |  |  |  |  |  |  |

Ref. European Communities (Classification, Packaging, Labelling and Notification of Dangerous Substances) Regulations, 1994

| Appendix B - Off-site Waste Disposal |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Waste Description | EWC. Catalogue No. | Quantity (Tonnes per annum) | Name of site accepting waste | Reference Number of site environment licence | State whether recycling, recovery or disposal |

| Appendix C - Characteristics of Trade and/or Domestic Effluent |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The following list of parameters is indicative only. Additional physical, chemical or other characteristics as are pertinent to the effluent in question should also be identified. Complete for all applicable sections, giving concentration ranges where available. |  |  |  |  |  |  |  |  |  |
| Emission Point co-ordinates (One table per emission point): |  |  |  |  |  |  |  |  |  |
| Parameter Concentrations in mg/l unless otherwise stated |  | Prior to Treatment (if any) |  |  |  | As discharged |  |  |  |
| Characteristic Note: Section A = to be completed where discharging domestic effluent only Section A-E = to be completed where discharging a trade effluent. |  | Max. Hourly | Max. Daily |  | Mg/l | Max. Hourly | Max. Daily | Mg/l | % Removal |
| A | Temperature ºC |  |  |  |  |  |  |  |  |
|  | pH |  |  |  |  |  |  |  |  |
|  | Biological Oxygen Demand (5 day) |  |  |  |  |  |  |  |  |
|  | Chemical Oxygen Demand |  |  |  |  |  |  |  |  |
|  | Suspended Solids |  |  |  |  |  |  |  |  |
|  | Total Ammonia (as N) |  |  |  |  |  |  |  |  |
|  | Nitrate (as N) |  |  |  |  |  |  |  |  |
|  | Total Phosphorus (as P) |  |  |  |  |  |  |  |  |
|  | Conductivity |  |  |  |  |  |  |  |  |
|  | Molybdate Reactive Phosphorus (MRP) |  |  |  |  |  |  |  |  |
|  | Oils, Fats and Greases |  |  |  |  |  |  |  |  |
|  | Sulphates (as SO4) |  |  |  |  |  |  |  |  |
|  | Chlorides (as Cl) |  |  |  |  |  |  |  |  |
|  | Phenols (as C6H5OH) |  |  |  |  |  |  |  |  |
|  | Detergents (as Lauryl Sulphate) |  |  |  |  |  |  |  |  |
|  | Faecal Coliforms CFU |  |  |  |  |  |  |  |  |
| B | Metals µg/l |  |  |  |  |  |  |  |  |
|  | Arsenic |  |  |  |  |  |  |  |  |
|  | Chromium |  |  |  |  |  |  |  |  |
|  | Copper |  |  |  |  |  |  |  |  |
|  | Cyanide |  |  |  |  |  |  |  |  |
|  | Fluoride |  |  |  |  |  |  |  |  |
|  | Lead |  |  |  |  |  |  |  |  |
|  | Nickel |  |  |  |  |  |  |  |  |
|  | Zinc |  |  |  |  |  |  |  |  |
|  | Other (please specify) |  |  |  |  |  |  |  |  |
| C | Pesticides & Solvents: |  |  |  |  |  |  |  |  |
|  | Atrazine |  |  |  |  |  |  |  |  |
|  | Dichloromethane µg/l |  |  |  |  |  |  |  |  |
|  | Simazine µg/l |  |  |  |  |  |  |  |  |
|  | Toluene µg/l |  |  |  |  |  |  |  |  |
|  | Xylenes µg/l |  |  |  |  |  |  |  |  |
| D | Organohalogen Compounds (Specify) |  |  |  |  |  |  |  |  |
|  | Organophosphorus Compounds (Specify) |  |  |  |  |  |  |  |  |
|  | Organotin Compounds (Specify) |  |  |  |  |  |  |  |  |
|  | Mineral Oils or Hydrocarbons of petroleum origin |  |  |  |  |  |  |  |  |
|  | Other toxic substances (Specify) |  |  |  |  |  |  |  |  |
|  | Colour (degrees hazen) |  |  |  |  |  |  |  |  |
| E | Other: |  |  |  |  |  |  |  |  |
|  | Other relevant characteristics including fish toxicity data from tests carried out on all or part of the effluent |  |  |  |  |  |  |  |  |

| Appendix D - Dangerous Substances |  |  |
| --- | --- | --- |
| Are any of the following chemicals used in the process or stored on the premises | Yes/No | Are residual chemical process materials or chemical tailings from a process recovered or discharged? |
| EDC (1, 2 dichloroethane (C2H4C12)) TRI trichloroethylene (C2HC13); PER perchloroethylene (C2 C14); TCB trichlorobenzene |  |  |
| Carbon tetrachloride, DDT and pentachlorophenol |  |  |
| Aldrin, dieldrin, isodrin, HCB (hexachlorobenzene), HCBD (hexachlorobutadiene) and CHCl3 (chloroform) |  |  |
| Cadmium |  |  |
| >100 kg of raw asbestos |  |  |
| Atrazine |  |  |
| Dichloromethane |  |  |
| Simazine |  |  |
| Toluene |  |  |
| Tributyltin |  |  |
| Xylenes |  |  |
| Arsenic |  |  |
| Chromium |  |  |
| Copper |  |  |
| Cyanide |  |  |
| Fluoride |  |  |
| Lead |  |  |
| Nickel |  |  |
| Zinc |  |  |

The following provides a partial glossary of terms used in this document.  The definitions therein are not to be taken as comprehensive but solely as an aid to the non-technical reader.

# Glossary of Terms

Abstraction

In relation to water contained in any source of water, means the doing of anything whereby any of that water is removed from that source of water, whether temporarily or permanently, including anything whereby the water is so removed for the purpose of being transferred to another source of water. (Source: Water Services Act, 2007)

Authorised person

A person appointed in writing by the Minister or by a Water Services Authority / Local Authority for the purposes of enforcing the legislation under which they have been appointed.

Domestic Waste Water

Waste water of a composition and concentration (biological and chemical) normally discharged by a household, and which originates predominantly from the human metabolism or from day to day domestic type human activities, including washing and sanitation, but does not include fats, oils, grease or food particles discharged from a premises in the course of, or in preparation for, providing a related service or carrying on a related trade. (Source: Water Services Act, 2007)

Groundwater

All water below the land surface that is not in a pipe or similarly contained. (Source: Water Services Act, 2007)

Licence Application

An application to a Local Authority or a Water Services Authority for a licence to discharge trade or sewage effluent to surface waters or to sewer.

Licensing Authority

Includes the Water Services Authority (as defined in the Water Services Act, 2007) and the Local Authority (as defined in the Local Government Act, 2001) which includes County Councils and City Councils.

Polluting Matter

Any substance liable to cause pollution, and, for the purpose of this definition, ‘substance’ includes bacteria and other pathogens, where relevant, and the expression "polluting matter" shall be construed accordingly. (Source European Communities Environmental Objectives (Surface Waters) Regulations, 2009)

Pollution

The discharge by man, directly or indirectly, of substances or energy into the aquatic environment, the results of which are such as to cause hazards to human health, harm to living resources and to aquatic ecosystems, damage to amenities or interference with other legitimate uses of water.

Priority Substances

Those substances or groups of substances identified by the Commission in accordance with Article 16(2) of the Water Framework Directive and listed in Tables 11 and 12 of Schedule 6 of the European Communities Environmental Objectives (Surface Waters) Regulations, 2009 that have been prioritised for action by the setting of environmental quality standards at Community level.

Priority Hazardous Substances

Those substances or groups of substances forming a subset of priority substances identified by the Commission in accordance with Article 16(3) of the Water Framework Directive and for which measures have to be taken to cease or phase-out discharges, losses and emissions and which are listed in Table 12 of Schedule 6 of the European Communities Environmental Objectives (Surface Waters) Regulations, 2009.

Sewer

Drainage pipes and sewers of every description, including storm water sewers, owned by, vested in or controlled by a water services authority, an authorised provider of water services or a person providing water services jointly with or on behalf of a water services authority or an authorised provider of water services, but does not include a drain or service connection (Source: Water Services Act, 2007)

Sewage Effluent

Effluent from any works, apparatus, plant or drainage pipe used for the disposal to waters of sewage, whether treated or untreated (Source: Local Government (Water Pollution) Act 1977)

Surface Water

A discrete and significant element of surface water such as a lake, reservoir, stream, river or canal, part of a stream, river or canal, a transitional water or a stretch of coastal water. (Source European Communities Environmental Objectives (Surface Waters) Regulations, 2009)

Trade Effluent

Effluent from any works, apparatus, plant or drainage pipe used for the disposal to a waste water works of any liquid (whether treated or untreated), either with or without particles of matter in suspension therein, which is discharged from premises used for carrying on any trade or industry (including mining), but does not include domestic waste water or storm water (Source: Water Services Act, 2007).

Water Services Authority

Includes a County Council or a City Council as defined in the Local Government Act, 2001, (sanitary authority or local authority).

Data Protection Notice pursuant to the Data Protection Acts 1988-2018 (as amended) and the General Data Protection Regulation (GDPR)

Discharge Licence

The purpose of this notification is to set out some information regarding the collection and processing of your personal information by Monaghan County Council (the ‘Council’). During the course of its activities the Council collects, stores and processes the personal data of its service users in order to provide the most effective and targeted range of services to the citizens, communities and businesses of County Monaghan. The Council is the data controller in respect of this data.

For full details of the collection, processing and sharing of your personal data and your rights in this regard, please see the Council’s full Privacy Notice which is available at Privacy Notice

What type of personal data is collected and processed?

The types of personal data that we collect, and process includes your:

Name, address, telephone number, email address

Name, address, telephone Number, email and relationship to applicant of agent/person responsible for preparation of application (if applicable)

Name, address, contact number, email and registered company details where the treatment system is to be maintained and operated by a third party (if applicable)

We do not collect any Special Category Personal Data.

Why does the Council collect this personal data?

The council collects this information in order to manage and administer the relationship between you and us for the purpose of assessing your application to issue a discharge licence to your company.

We require your contact details in order to communicate effectively with you as part of this relationship with you. Please note that to help protect your privacy, we take steps to verify your identity before granting access to personal data. These contact details may also be used to verify your identify.

Lawfulness of processing

We process this personal data in the exercise of official authority vested in as the controller under The Local Government Water Pollution Act 1977 & 1990 (as amended), Surface Water Regulations S.I. 272 of 2009, Ground Water Regulations S.I. 9 of 2010 and Article 6(1)(e) of the General Data Protection Regulations, 2016.

Who does the Council share your  information with?

The Council may, to fulfil its statutory functions and regulatory obligations or in the public interest may share some of your Personal Data with selected third parties e.g. Department of Marine, Inland Fisheries, Regional Fisheries, National Parks and Wildlife and EPA.

What will happen if the personal data requested is not provided?

If the application form is not completed in full and all the requested information provided, the council will not be able to process this application.

For full details of the collection, processing and sharing of your personal data and your rights in this regard, please see the Council’s full Privacy Notice at: www.monaghan.ie/privacy-notice/

For further details of the collection, processing and sharing of your personal data and your rights in this regard, please see https://monaghan.ie/environment/data-protection-privacy-notice/