# INFORMATION TO ACCOMPANY LICENCE APPLICATION

- Schedule 2

- Fee (Refer S.I. 301 of 1979)

- 3 copies of site location map (scale 1:2500 or 1:1000) with boundaries marked in red.

- 3 copies of site plan at scale 1:100 marked and coloured showing : -

each underground storage tank

each pipeline including suction, venting and filling

each dispensing pump

each container store/compound

all buildings and cellars within 16m of the following :

underground storage tank

offset filling points

dispensing pump

vent pipes

container store/compound

- 3 copies of sectional drawings at scale not less than 1:50 and specification/particulars describing the construction and installation details of the following : -

underground storage tanks

dispensing pumps

container store/compound

pipelines (including diameters)

- Plan, specification or particulars marked to show :

electrical apparatus and installations at a distance less than 5 metres from the following :

underground storage tanks

dispensing pump

container store/compound

filling, dipping or venting openings

- Plans should indicate :

  - particulars of building or places containing dangerous, flammable or instantaneous combustible materials together with the amounts

  - the quantity of Class I petroleum in each :

underground storage tank

container store/compound

- the position and construction of the tanker off-loading stand

- the forecourt construction

- drainage details

- interceptor details

- Inspection Certificates in respect of : 	a) the dispensing equipment

b) the electrical installations

- Pressure test certificates in respect of :	a) tanks and	b) pipework

(for first applications only or if no record on the file)